| Maintenance /Inspection | Frequency |
| --- | --- |
| Heating and Ventilation |  |
| Boiler | Annually |
| Radiators | Bi annually |
| Extract system | Annually |
| Pipe work distribution | Annually before winter months |
| Power Distribution |  |
| Inspect wiring | Annually |
| Inspect surface mounted sockets and switches | Monthly |
| Fire and Security |  |
| Fire alarm | Monthly |
| Fire extinguishers | Inspect monthly, Maintain annually |
| Security alarm | Annually |
| Drains and surface water System |  |
| Drains | Bi annually |
| Rain water gutters and spouting | Quarterly |
| Roof Covering |  |
| Roof surface/coating | Bi annually |
| Flashings | Bi annually |
| Building External |  |
| Exterior condition of building | Quarterly |
| Monitor property for general repairs |  |
| Windows and doors- weather stripping, thresholds, hinges, door closures and locks | Weekly |
| Stairwells and Access - loose fastenings and treads | Weekly |
| Sidewalks and Parking | Weekly |
| Plumbing- leaks, blockages, damage | Monthly |
| Furnishings, fittings and finishes |  |
| Floor coverings | Monthly |
| Upholstery | Monthly |
| Wall finishes | Monthly |
| Plant and Equipment | In line with manufactures recommendations. Cellar cooling system annually by ACME |